Consumer Confidence Report
Page 4 of 5

City of Live Oak
2011 Consumer Confidence Report

	Water System Name:
	City of Live Oak 5110001
	Report Date:
	June 29, 2012


Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

[image: image1.wmf]
We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2011.
	
	

	A source assessment has been completed for the four wells serving the City of Live Oak.

The sources are considered most vulnerable to the following activities not associated with any detected contaminants:

Wells 1a/2a and Well #3: Existing and historic gas station, underground storage tanks.

Well #4: Agricultural drainage, chemical / petroleum pipelines, sewer collection systems, existing / historic gas station, chemical / petroleum processing / storage, underground storage tanks.

To view the complete assessment contact:

                              DHS Valley District Office                                Live Oak City Hall


364 Knollcrest Drive, Suite 101
9955 Live Oak Blvd.


Redding, CA  96002
Live Oak, Ca. 95953


Attn: Ray Bruun 530-224-3252                     Attn: Jim Goodwin (530) 695-2112
Time and place of regularly scheduled board meetings for public participation:

City Hall, 9955 Live Oak Blvd. First and third Wednesday of every month at 7 PM.  


	TERMS USED IN THIS REPORT

	Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water.  Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible.  Secondary MCLs are set to protect the odor, taste, and appearance of drinking water.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs are set by the U.S. Environmental Protection Agency (USEPA).

Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  PHGs are set by the California Environmental Protection Agency.

Maximum Residual Disinfectant Level (MRDL):  The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.
	Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements.

Secondary Drinking Water Standards (SDWS):  MCLs for contaminants that affect taste, odor, or appearance of the drinking water.  Contaminants with SDWSs do not affect the health at the MCL levels.

Treatment Technique (TT):  A required process intended to reduce the level of a contaminant in drinking water.

Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.

Variances and Exemptions:  Department permission to exceed an MCL or not comply with a treatment technique under certain conditions.

ND: not detectable at testing limit  

ppm: parts per million or milligrams per liter (mg/L)

ppb: parts per billion or micrograms per liter (ug/L)
ppt: parts per trillion or nanograms per liter (ng/L) 

ppq: parts per quadrillion or picogram per liter (pg/L)

pCi/L: picocuries per liter (a measure of radiation)


The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals, that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

· Radioactive contaminants that can be naturally-occurring or be the result of oil and gas production and mining activities.
In order to ensure that tap water is safe to drink, the USEPA and the state Department of Public Health (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  Department regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, 5, 7, and 8 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The Department allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.
Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).
	In order to ensure that tap water is safe to drink, the U.S. Environmental Protection Agency (USEPA) and the State Department of Public Health (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  Department regulations also establish limits for contaminants in bottled water that provide the same

	· If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  City of Live Oak is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.


	While your drinking water meets the federal and state standard for arsenic, it does contain low levels of arsenic.  The arsenic standard balances the current understanding of arsenic’s possible health effects against the costs of removing arsenic from drinking water.  The U.S. Environmental Protection Agency continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems. 


	Nitrate in drinking water at levels above 45 mg/L is a health risk for infants of less than six months of age.  Such nitrate levels in drinking water can interfere with the capacity of the infant’s blood to carry oxygen, resulting in a serious illness; symptoms include shortness of breath and blueness of the skin.  Nitrate levels above 45 mg/L may also affect the ability of the blood to carry oxygen in other individuals, such as pregnant women and those with certain specific enzyme deficiencies.  If you are caring for an infant, or you are pregnant, you should ask advice from your health care provider.

Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity.  


Summary Information for Contaminants Exceeding an MCL, MRDL, or AL or
Violation of Any TT or Monitoring and Reporting Requirement

	Last year your tap water met all EPA and State drinking water health standards. The City of Live Oak’s Public Works 

	Department vigilantly safeguards your water supplies and now meets the State and Federal drinking water standards  

	for arsenic contaminate levels as of  January 2009.


Summary Information for Fecal Indicator-Positive Ground Water Source Samples, Uncorrected Significant Deficiencies, or Violation of a Ground Water TT 

	There were no Fecal Indicator-Positive Ground Water Source Samples in 2011.


	Table 1 – SAMPLING RESULTS SHOWING the detection of coliform bacteria

	Microbiological Contaminants

(complete if bacteria detected)
	Highest No. of Detections
	No. of months in violation
	MCL
	 MCLG
	Typical Source of Bacteria

	Total Coliform Bacteria
	(In a mo.)


	0
	More than 1 sample in a month with a detection
	0
	Naturally present in the environment

	Fecal Coliform or E. coli
	(In the year)


	0
	A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli
	0
	Human and animal fecal waste

	Table 2 – SAMPLING RESULTS SHOWING THE detection of Lead and copper

	Lead and Copper

(complete if lead or copper detected in the last sample set)
	No. of samples collected
	90th percentile level detected
	No. sites exceeding AL
	AL
	PHG
	Typical Source of Contaminant

	Lead (ppb)
August 2011
	20
	0.0013
	0
	15
	2
	Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits

	Copper (ppm)
August 2011
	18
	0.176
	0
	1.3
	0.17
	Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives

	TAble 3 – SAMPLING RESULTS FOR sodium and hardness

	Chemical or Constituent (and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG

(MCLG)
	Typical Source of Contaminant

	Sodium (ppm)
	2003,05,06
	18.8
	16-20
	none
	none
	Salt present in the water and is generally naturally occurring

	Hardness (ppm)
Grains
	2005,06
	215
12.6
	167-251
9.8-14.7
	none
	none
	Sum of polyvalent cations present in the water, generally magnesium and calcium, and are usually naturally occurring


*Any violation of an MCL or AL is asterisked.  Additional information regarding the violation is provided later in this report.

	TAble 4 – detection of contaminants with a Primary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
[MRDL]
	PHG
(MCLG)
[MRDLG]
	Typical Source of Contaminant

	Arsenic Treated Water
(ppb)
	2010,2011
	Seven quarter running quarterly average of 
4.8 ppb
	2.9-5.6 ug/L
	10
	0.004
	Erosion of natural deposits, runoff from orchards. Some people who drink water that contains arsenic in excess of the MCL over many years could experience skim damage or problems with their circulatory system, and may have an increased risk of getting cancer.

	Chlorine mg/l
	2011
3/week
	1.17
	0.25 to 2.2 mg/L
	4
	4
	Drinking water disinfectant added for treatment.

	Chromium (ppb)
	2007, 08,09
	6.5
	ND-15
	50
	100
	Discharge from steel and pulp mills and chrome plating; erosion of natural deposits.

	Fluoride (ppm)
	2006, 07,08
	0.20
	0.19-0.21
	2
	1
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories. 

	Nitrate (ppm)
	2011
	5.1
	14.329 to 29.37 mg/L
	45
	45
	Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits.

	TAble 5 – detection of contaminants with a Secondary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	MCL
	PHG
(MCLG)
	Typical Source of Contaminant

	Chloride (ppm)
	2008,09
	9.9
	7.2-12.6
	500
	N/A
	Runoff/leaching from natural deposits; saltwater influence.

	Manganese (ppb)
	2006,07 ,09, 2010
	19.5
	ND-34.0
	50
	N/A
	Leaching from natural deposits.

	Sulfate (ppm)
	2007, 08,09
	21.1
	17.2-25.3
	500
	N/A
	Runoff/ leaching of natural deposits; industrial wastes. 

	Total Dissolved Solids

(ppm)
	2011
	330-360
	330-360
	1000
	N/A
	Runoff/ leaching of natural deposits.

	Turbidity (NTUs)
	2005, 08,09
	1.3
	0.30-1.90
	5
	N/A
	Soil runoff.

	TAble 6 – detection of UNREGULATED CONTAMINANTS

	Chemical or Constituent
(and reporting units)
	Sample Date
	Level Detected
	Range of Detections
	Notification Level
	Health Effects Language

	Hexavalent Chrome (ppb)
	2006
	4.4
	ND-8.8
	N/A
	Hexavalent Chrome (ppb)


*Any violation of an MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

2011 SWS CCR Form
Revised Jan 2012
2011 SWS CCR Form
Revised Jan 2012

_1051512814.bin

