Live Oak 2005 Drinking Water Consumer Confidence Report                                                                Page 4 of 4

2007 Consumer Confidence Report

	Water System Name:
	City of Live Oak 5110001
	Report Date:
	May 29, 2008


We test the drinking water quality for many constituents as required by State and Federal Regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2007.

Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.





[image: image1.wmf]
	Type of water source(s) in use: Wells ( groundwater)
	

	Name of source(s):         Wells 1, 2, 3, 4.  Well 5 is currently in standby emergency use only.
	

	Drinking Water 

Source

Assessment

Information:


	A source water assessment has been completed for the five wells serving the City of 

Live Oak. The sources are considered most vulnerable to the following activities not 

associated with any detected contaminants:

Wells 1,2,3 & 5: Existing and historic gas stations, underground storage tanks.

Well 4: Agricultural drainage, chemical/petroleum pipelines, sewer collection systems, 

existing/historic gas stations, chemical/petroleum processing/storage, underground 

storage tanks.  To view the complete assessment contact:

DHS Valley District Office           Or at:   Live Oak City Hall

415 Knollcrest Drive, Suite 110         9955 Live Oak Blvd.

Redding, CA  96002                                    Live Oak, CA  95953

Attn: Richard Hinrichs  224-4867      Attn: Tom Lando 695-2112 

	Time and place of regularly scheduled board meetings for public participation:      

City Hall, 9955 Live Oak Blvd, First and third Wednesday of every month at 7 PM.
	

	For more information contact    Tom Lando,  City Manager                       Phone: (530)695-2112    
	
	  Phone:   (530) 695-2112
	

	                                           TERMS USED IN THIS REPORT:
	

	Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water.  Primary

 MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible.  Secondary MCLs 

Are set to protect the odor, taste, and appearance of drinking water.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs are set by the U.S. Environmental Protection Agency (USEPA).

Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected

 risk to health. PHGs are set by the California Environmental Protection Agency.

Maximum Residual Disinfectant Level (MRDL): Water disinfectant level not to be exceeded at consumer’s tap.

Maximum Residual Disinfectant Level Goal (MRDLG): The level of a disinfectant added for water treatment below which there is no known or expected risk to health.  MRDLGs are set by the U.S. Environmental Protection Agency.

Primary Drinking Water Standards (PDWS): MCLs or MRDLs for contaminants that affect health along with their

 monitoring and reporting requirements, and water treatment requirements.

Secondary Drinking Water Standards (SDWS):  MCLs for contaminants that affect taste, odor, or appearance of the Drinking water.  Contaminants with SDWSs do not affect the health at the MCL levels.

Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other 

requirements which a water system must follow.

ND: not detectable at testing limit

Ppm: parts per million or milligrams per liter (mg/L)

Ppb: parts per billion or micrograms per liter (ug/L)
Ppt: parts per trillion or nanograms per liter (ng/L)

Pci/L: picocuries per liter (a measure of radiation)
	
	


The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals, that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

· Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, USEPA and the state Department of Health Services (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  Department regulations also establish limits for contaminants in bottled water that must provide the same protection for public health.

Tables 1, 2, 3, 4, and 5 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The Department allows us to monitor certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.

	Table 1 - sampling results showing the detection of coliform bacteria

(The City of Live Oak tested 7 times per month, all results were negative)

	Microbiological Contaminants


	Highest No. of detections
	No. of months in violation
	MCL
	 MCLG
	Typical Source of Bacteria

	Total Coliform Bacteria
	(In a mo.)

0
	0
	More than 1 sample in a month with a detection
	0
	Naturally present in the environment

	Fecal Coliform or E. coli
	(In the year)

0
	0
	A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli
	0
	Human and animal fecal waste

	Table 2 - sampling results showing the detection of Lead and copper

	Lead and Copper


	No. of samples collected
	90th percentile level detected
	No. sites exceeding AL 
	AL
	PHG


	Typical Source of Contaminant

	Lead (ppb) Oct 05
	20
	ND
	0
	15
	2
	Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits

	Copper (ppm)
	20
	220
	0
	1300
	170
	Internal corrosion of household water plumbing systems; erosion of natural deposits; leaching from wood preservatives

	TAble 3 - sampling results for sodium and hardness

	Chemical or Constituent (and reporting units)
	Sample Date (s)
	Average Level Detected
	Range of Detections
	MCL
	PHG

(MCLG)
	Typical Source of Contaminant

	Sodium (ppm)
	2003, 05, & 06
	18.6
	16-20
	none
	none
	Generally found in ground & surface water

	Hardness (ppm)
	2005, 06
	210
	167-251
	none
	none
	Generally found in ground & surface water


	TAble 4 – detection of contaminants with a Primary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date (s)
	Average Level Detected
	Range of Detections
	MCL

[MRDL]
	PHG

(MCLG)

[MRDLG]
	Typical Source of Contaminant

	Arsenic (ppb)
	2007
	*27
	3.5 to *73
	10
	.004
	Erosion of natural deposits, runoff from orchards

   Some people who drink water that contains arsenic in excess of the MCL over many years could experience skin damage or problems with their circulatory system, and may have an increased risk of getting cancer.

	Barium (ppm)
	2007, 03
	.071
	0 to .15
	1
	2
	Discharge of oil drilling wastes and from metal refineries; erosion of natural deposits.  

	Chlorine (ppm)
	3 per week
	.70
	.3 to 1.2
	4
	4
	Drinking water disinfectant added for treatment

	Chromium (ppb)
	2007, 05, 03 and 01
	6.0
	0 to 15
	50
	(100)
	Discharge from steel and pulp mills and chrome plating; erosion of natural deposits.  

	Fluoride (ppb)
	2005

1999
	66
	0 to 118
	2000
	1000
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories

	Nitrate (ppm)
	2007, 05
	21.9
	15.4 to *45.4
	45
	45
	Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits 

	Haloacetic Acids (ppb)
	2005
	5.35
	N/A
	60
	N/A
	Byproduct of drinking water disinfection

	TAble 5 – detection of contaminants with a Secondary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date(s)
	Average Level Detected
	Range of Detections
	MCL

[MRDL]
	PHG

(MCLG)

[MRDLG]
	Typical Source of Contaminant

	Chloride (ppm)
	2007, 03
	9.4
	7.2 to 12.1
	500
	N/A
	Runoff/leaching from natural deposits

	Iron (ppb)
	2007, 05, 03
	54
	N/D to 170
	300
	N/A
	Leaching from natural deposits; industrial wastes

	Manganese (ppb)
	2007, 05, 03
	*52.4
	N/D to *220
	50
	N/A
	Leaching from natural deposits

	Foaming Agents (MBAS) (ppb)
	2005
	12
	0 to 40
	500
	N/A
	Municipal and industrial waste discharges

	Sulfate (ppm)
	2007, 05, 03
	14.5
	0 to 19
	500
	N/A
	Runoff/leaching from natural deposits; industrial wastes

	Total Dissolved Solids (ppm)
	2005
	291
	242 to 310
	1000
	N/A
	Runoff/leaching from natural deposits

	Turbidity (NTUs)
	2006, 05
	1.40
	.38 to 3.3
	5
	N/A
	Soil runoff 

	TABLE 6 – DETECTION OF UNREGULATED CONTAMINANTS

	Chemical or Constituent

(and reporting units)
	Sample Date(s)
	Average Level Detected
	Range of Detections
	Notification Level
	Health Effects Language

	Vanadium (ppb)
	1/30/02
	31
	26 to 35
	50 
	The babies of some pregnant women who drink water containing vanadium in excess of the notification level may have an increased risk of developmental effects, based on studies in laboratory animals

	Hexavalent Chrome (ppb)
	2004, 05, 06
	6.1
	0 to 8.8
	n/a
	n/a

	Boron (ppb)
	1/30/02

3/11/03


	30
	0 to 150
	1000
	Some men who drink water containing boron in excess of the notification level over many years may experience reproductive effects, based on studies in dogs.


*Any violation of an MCL or  MRDL is asterisked.  Additional information regarding the violation is provided later in this report.
Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).  Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

In 2007, the City of Live Oak started an arsenic treatment upgrade of the water system at Wells 1,2,3 and 4.  Arsenic treatment will also remove iron and manganese. This project was funded by proposition 40 (two million dollars), water service connections and user and impact fees (seven hundred thousand dollars). This project is scheduled for completion by the end of the 2008.

Summary Information for Contaminants Exceeding an MCL, MRDL, or AL, or a Violation of Monitoring and Reporting Requirements

Nitrate in drinking water at levels above 45 mg/L is a health risk for infants less than six months of age.  Such nitrate levels in drinking water can interfere with the capacity of the infant’s blood to carry oxygen, resulting in serious illness; symptoms include shortness of breath and blueness of the skin.  Nitrate levels above 45 mg/L may also affect the ability of the blood to carry oxygen in other individuals, such as pregnant women and those with specific enzyme deficiencies.  If you are caring for an infant, or you are pregnant, you should ask advice from your health care provider.
Arsenic Maximum Contaminant Level (MCL) has been lowered from 50 ppb to 10 ppb.  A new treatment system will be operational in 2008 to enable us to meet this standard.  An additional benefit of this process will be the removal of manganese.  

Manganese MCL is set by the EPA as a Secondary Contaminant for drinking water at 50 ppb, because at higher concentrations it can stain clothes or plumbing fixtures. Manganese is an essential nutrient with no negative health effects at levels that are in the City water. The minimum Food and Drug Administration daily dose is 1 to 10 mg a day.  Drinking a half-gallon of Live Oaks’ water would cause a person to consume approximately 0.2 mg.   The City increased testing for manganese during 2007. Manganese levels will be reduced with our new arsenic treatment in the drinking water.

Nitrate MCL:  Well 5 exceeded the nitrate MCL in 2007 and then it was immediately taken out of service for rehabilitation.

Missed Nitrate Sample:  Well 4 was not sampled in 2007 for nitrate because for most of 2007 it was not operating due to construction of an arsenic removal facility.

Missed Radiological Samples:  Not all required samples for Gross Alpha radioactivity and Radium 228 radioactivity were collected in 2007 as required by the initial monitoring requirements for these contaminants.


_1051512814.bin

