Consumer Confidence Report
Page 2 of 4


2008 Consumer Confidence Report

	Water System Name:
	City of Live Oak 5110001
	Report Date:
	June 03, 2009.


We test the drinking water quality for many constituents as required by state and federal regulations.  This report shows the results of our monitoring for the period of January 1 - December 31, 2008.
Este informe contiene información muy importante sobre su agua potable.  Tradúzcalo ó hable con alguien que lo entienda bien.

[image: image1.wmf]
	Type of water source(s) in use:  
	Wells (groundwater).

	Name & location of source(s): Wells 1a, 2a, 3, 4. Well 5 is out of service. 

	Drinking Water Source Assessment information:
	A source assessment has been completed for the five wells serving the City of Live Oak. The sources are considered most vulnerable to the following activities not associated with any detected contaminants: 
Wells 1a, 2a, 3 & 5: Existing and historic gas stations, underground storage tanks. 

Well 4 Agricultural drainage, chemical / petroleum pipelines sewer collection systems, existing / historic gas stations, chemical / petroleum processing / storage, underground storage tanks. To view the complete assessment contact: 

	
DHS Valley District Office                          Or at:   Live Oak City Hall


415 Knollcrest Drive, Suite 110
9955 Live Oak Blvd.

Redding, Ca. 96002
Live Oak, Ca. 95953

Attn: Richard Hinrichs  224-4867
                        Attn: Jim Goodwin (530) 695-2112

                         

	Time and place of regularly scheduled board meetings for public participation:
	

	 City Hall, 9955 Live Oak Blvd, First and third Wednesday of every month at 7 PM.

	For more information, contact:   Jim Goodwin City Manager   Phone: (530) 695-2112 

	TERMS USED IN THIS REPORT:

	Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water.  Primary MCLs are set as close to the PHGs (or MCLGs) as is economically and technologically feasible.  Secondary MCLs are set to protect the odor, taste, and appearance of drinking water.

Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs are set by the U.S. Environmental Protection Agency (USEPA).

Public Health Goal (PHG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  PHGs are set by the California Environmental Protection Agency.

Maximum Residual Disinfectant Level (MRDL):  The level of a disinfectant added for water treatment that may not be exceeded at the consumer’s tap.

Maximum Residual Disinfectant Level Goal (MRDLG): The level of a disinfectant added for water treatment below which there is no known or expected risk to health.  MRDLGs are set by the U.S. Environmental Protection Agency.
	Primary Drinking Water Standards (PDWS): MCLs and MRDLs for contaminants that affect health along with their monitoring and reporting requirements, and water treatment requirements.

Secondary Drinking Water Standards (SDWS):  MCLs for contaminants that affect taste, odor, or appearance of the drinking water.  Contaminants with SDWSs do not affect the health at the MCL levels.

Treatment Technique (TT):  A required process intended to reduce the level of a contaminant in drinking water.

Regulatory Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.

Variances and Exemptions:  Department permission to exceed an MCL or not comply with a treatment technique under certain conditions.

ND: not detectable at testing limit  

ppm: parts per million or milligrams per liter (mg/L)

ppb: parts per billion or micrograms per liter (ug/L)
ppt: parts per trillion or nanograms per liter (ng/L) 

pCi/L: picocuries per liter (a measure of radiation)


The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides that may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals that are byproducts of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, agricultural application, and septic systems.

· Radioactive contaminants that can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA and the state Department of Public Health (Department) prescribe regulations that limit the amount of certain contaminants in water provided by public water systems.  Department regulations also establish limits for contaminants in bottled water that provide the same protection for public health.

Tables 1, 2, 3, 4, and 5 list all of the drinking water contaminants that were detected during the most recent sampling for the constituent.  The presence of these contaminants in the water does not necessarily indicate that the water poses a health risk.  The Department allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of the data, though representative of the water quality, are more than one year old.

	Table 1 - sampling results showing the detection of coliform bacteria

	Microbiological Contaminants

(to be completed only if there was a detection of bacteria )
	Highest No. of detections
	No. of months in violation
	MCL
	 MCLG
	Typical Source of Bacteria

	Total Coliform Bacteria
	(In a mo.)

0
	1
	More than 1 sample in a month with a detection
	0
	Naturally present in the environment

	Fecal Coliform or E. coli
	(In the year)

0
	0
	A routine sample and a repeat sample detect total coliform and either sample also detects fecal coliform or E. coli
	0
	Human and animal fecal waste

	Table 2 - sampling results showing the detection of Lead and copper

	Lead and Copper

(to be completed only if there was a detection of lead or copper in the last sample set)
	No. of samples collected
	90th percentile level detected
	No. sites exceeding AL 
	AL
	PHG


	Typical Source of Contaminant

	Lead (ppb) Sept, Oct 2008
	20
	0
	0
	15
	2
	Internal corrosion of household water plumbing systems; discharges from industrial manufacturers; erosion of natural deposits

	Copper (ppm) Sept,Oct 2008
	20
	0.17
	ND-0.17
	1.3
	0.3
	Internal corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives

	TAble 3 - sampling results for sodium and hardness

	Chemical or Constituent (and reporting units)
	Sample Date
	Average Level Detected
	Range of Detections
	MCL
	PHG

(MCLG)
	Typical Source of Contaminant

	Sodium (ppm)
	2003,05,06
	18.6
	16-20
	none
	none
	Generally found in ground & surface water

	Hardness (ppm)
	2005,06
	210
	167-251
	none
	none
	Generally found in ground & surface water


*Any violation of an MCL or AL is marked with an asterisk.  Additional information regarding the violation is provided later in this report.

	TAble 4 - detection of contaminants with a Primary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Average Level Detected
	Range of Detections
	MCL

[MRDL]
	PHG

(MCLG)

[MRDLG]
	Typical Source of Contaminant

	Arsenic Raw Water (ppb)
	2008
	*22.8
	*12-50
	10
	0.004
	Erosion of natural deposits, runoff from orchards. Some people who drink water that contains arsenic in excess of the MCL over many years could experience skim damage or problems with their circulatory system, and may have an increased risk of getting cancer.

	Arsenic Treated Water (ppb)
	2008 
	5.6
	*1.5-12
	10
	0.004
	

	Aluminum (ppm)
	2005, 06, 08
	.02
	ND-.09
	1
	0.6
	Erosion of natural deposits, residue from some water treatment processes.

	Barium (ppm)
	2006, 07, 08
	.09
	ND-.15
	1
	2
	Discharge of oil drilling wastes and from metal refineries; erosion of natural deposits.

	Chlorine (ppm)
	3 per week
	     .70
	.3-1.2
	4
	4
	Drinking water disinfectant added for treatment.

	Chromium (ppb)
	2001, 06, 07, 08
	7.5
	 ND-15
	50
	100
	Discharge from steel and pulp mills and chrome plating; erosion of natural deposits. 

	Fluoride (ppm)
	2006, 07, 08
	.18
	.13-.20
	2
	1
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories. 

	Nickel (ppb)
	2006, 07, 08
	.43
	ND-1.7
	100
	12
	Erosion of natural deposits, and from metal factories.

	Nitrate (ppm)
	2008
	17.3
	15.0-20.1
	45 
	45
	Runoff and leaching from fertilizer use; leaching from septic tanks and sewage; erosion of natural deposits.

	TTHMs (Total Trihalomethanes)(ppb)
	2008
	3.47
	3.47
	80
	n/a
	Byproduct of drinking water chlorination.

	Haloacetic Acids (ppb) 
	2008
	32.5
	32.5

	60
	n/a
	Byproduct of drinking water disinfection.

	TAble 5 - detection of contaminants with a Secondary Drinking Water Standard

	Chemical or Constituent
(and reporting units)
	Sample Date
	Average Level Detected
	Range of Detections
	MCL


	PHG

(MCLG)
	Typical Source of Contaminant

	Chloride (ppm)
	2006, 08
	9.7
	     7.2-12.1
	500
	n/a
	Runoff/leaching from natural deposits; saltwater influence. 

	Iron (ppb)
	2003, 06, 08
	42.5
	ND-170.0
	300
	n/a
	Leaching from natural deposits; industrial wastes.

	Manganese (ppb)
	2003, 07, 08
	*52.9
	*ND-150.0
	50
	n/a
	Leaching from natural deposits.

	Sulfate (ppm)
	2006, 07, 08
	18.1
	17.2-19.0
	500
	n/a
	Runoff/ leaching of natural deposits; industrial wastes. 

	Total Dissolved Solids (ppm) 
	2005, 06
	288
	242-310
	1000
	n/a
	Runoff/ leaching of natural deposits.

	Turbidity (NTUs)
	2006, 08
	1.3
	0.05-3.30
	5
	n/a
	Soil runoff.

	TABLE 6 - DETECTION OF UNREGULATED CONTAMINANTS

	Chemical or Constituent

(and reporting units)
	Sample Date
	Average Level Detected
	Notification 
Level
	Health Effects Language

	Hexavalent Chrome (ppb)
	2004, 05, 06
	0-8.8         Average 6.1
	n/a
	n/a

	Boron (ppb)
	1/30/02            3/11/03
	0-150              Average 30
	1000
	Some men who drink water containing boron in excess of the notification level over many years may experience reproductive effects, based on studies in dogs.


*Any violation of an MCL, MRDL, or TT is asterisked.  Additional information regarding the violation is provided later in this report.

Additional General Information on Drinking Water

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the USEPA’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. USEPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Summary Information for Contaminants Exceeding an MCL, MRDL, or AL, or a Violation of Any Treatment Technique or Monitoring and Reporting Requirement

	Arsenic and Manganese MCLs were exceeded in 2008. The treatment systems for these contaminants were built and 

	brought on line in 2008. Well 3 tests for 2,4 D, Atrazine, Carbofuran, Glyphosate, Molinate, Simazine, Thoibencarb,   

	were missed in November 2008. Subsequent testing in January 2009 showed all as no detect.








2008 SWS CCR Form
Revised Jan 2009
2008 SWS CCR Form
Revised Jan 2009

_1051512814.bin

